## Slide 1: Dungeness Juvenile Crab Long Term – CO2 Exposure Study
2018-2019
Salmon Shed ”Environmental Data”
Presented (2021.03.11)
Dungeness Juvenile
CO2 Exposure Study
2018-2019

## Slide 2: Salinity (Orion Conductivity Probe)

## Slide 3: Salinity (Wall Mounted UDA Display)

## Slide 4: Salinity (Salmon Shed Alone)

## Slide 5: Salinity (All Conductivity Records)
Restrict Dates Further to ~20AUG2018
Further investigate Chase’s SPEC salinity recorded values
Ask Lindsay/Eileen for records
Wells Pt Orca Buoy – are they correlated?
NANOOS UW Edu Data for Download
Daily Unit?
correlate
There back again create salinity timeseries

## Slide 6: Conductivity Sensor Problem: conductivity gaps without corresponding temperature gaps

## Slide 7: Water Chemistry- pH (UDA and SPEC)
Hunt for any more August values

## Slide 8: Water Chemistry- pH by Probe, by Treatment

## Slide 9: Water Chemistry- pH by Probe, by Treatment (y axis limitations (6.5, 8.5)
Change sensor type “OrionStarA112” create 2 sensor types
3 different probes – call out to see break out
High CO2 DF where I can pull out tank to tank comparison

## Slide 10: Probe’rodeo

## Slide 11: UDA data from Salmon Shed

## Slide 12: UDA data displayed by Tank/Display No.

## Slide 13: Water Temperature (All Inputs)

## Slide 14: Water Temperature (Salmon Shed & Chum House)

## Slide 15: Water Temperature (Y axis limitation 5, 30)

## Slide 16: Water Temperature (Y axis limitation 5, 18)
Look for DIC sample recorded Salinity Samples
First date 28AUG18
Look for fluke readings for insitu readings

## Slide 17: Dissolved Oxygen (Assumed Constant of 29.5)
Okay how am I getting 10 columns? And 1 with 13?

## Slide 18: Kate’s Questions
The Conductivity Probe in the Salmon Shed
  Is this a Tordial? Something?
What other aspects are we looking to learn- seasonal averages?
ECDF plots- probably for the High CO2
Make fewer dataframes
Look for DIC sample recorded Salinity Samples
Change sensor type “OrionStarA112” create 2 sensor types
3 different probes – call out to see break out
High CO2 DF where I can pull out tank to tank comparison
Further investigate Chase’s SPEC salinity recorded values
Ask Lindsay/Eileen for records
Wells Pt Orca Buoy – are they correlated?
NANOOS UW Edu Data for Download

## Slide 19: Follow On
Ambient Means, Standard Error, Standard Deviation (to explain the seasonal variation)
Monthly Tables for all! Salinity | pH | Temperature
Descriptive Stats Table
Be able to add a monthly alkalinity value to the table
Conditions of the chambers- find the chamber data (Temp | pH (SPEC))
Find chamber SPEC values and use salinity values to close gap (august time)

## Slide 20: Lesson Learned About Salinity
Where and When will we sample insitu readings
HST
Head Tank
Bottles? … have to for SPEC